## Slide 1: End-to-End Machine Learning for Wearables

## Slide 2: Overview
Sensors → Data → ML → Edge Deployment → Monitoring
Practical Wearable ML Pipeline

## Slide 3: Wearable ML Use Cases
Activity Recognition
Sleep Analysis
Fall Detection
Stress Monitoring
Health Screening

## Slide 4: Wearable Sensors
Accelerometer
Gyroscope
PPG
ECG
Temperature
GPS

## Slide 5: Sampling Fundamentals
Sampling Rate (Hz)
Nyquist Rule
Aliasing
Battery Trade-offs

## Slide 6: Data Collection
Subject Diversity
Device Placement
Ground Truth
Protocols

## Slide 7: Labeling Strategy
Clear Definitions
Avoid Ambiguity
Transition Handling

## Slide 8: Data Cleaning
Outlier Removal
Missing Data Handling
Clock Alignment

## Slide 9: Filtering & Smoothing
Low-pass Filters
Noise Reduction
Artifact Removal

## Slide 10: Windowing
Sliding Windows
2–10s Typical
50% Overlap
Feature Extraction

## Slide 11: Window Size Design
Trade-off: Latency vs Accuracy
Memory Impact

## Slide 12: Statistical Features
Mean
Std
Energy
Entropy
Correlations

## Slide 13: Frequency Features
FFT
Spectral Energy
Dominant Frequencies

## Slide 14: Classical ML Models
Logistic Regression
Random Forest
XGBoost

## Slide 15: Deep Learning Models
1D CNN
CNN+LSTM
Tiny Transformers

## Slide 16: Train-Test Splitting
Subject-wise Split
Cross Validation
No Data Leakage

## Slide 17: Model Training
Hyperparameter Tuning
Regularization
Early Stopping

## Slide 18: Evaluation Metrics
Accuracy
F1-Score
Recall
MAE/RMSE

## Slide 19: Error Analysis
Confusion Matrix
User-wise Analysis
Edge Cases

## Slide 20: Performance Improvement
Data Augmentation
Sensor Fusion
Normalization

## Slide 21: Model Compression
Quantization
Pruning
Architecture Simplification

## Slide 22: Edge Deployment
TensorFlow Lite
CoreML
ONNX Runtime
TinyML

## Slide 23: Real-Time Pipeline
Buffering
Inference
Smoothing
Alerts

## Slide 24: Field Testing
Different Users
Environments
Battery Modes

## Slide 25: Robustness Testing
Cold Start
Signal Loss
Motion Artifacts

## Slide 26: Production Monitoring
Telemetry
Confidence Drift
Latency Logs

## Slide 27: Continuous Learning
Feedback Loop
Re-training
Versioning

## Slide 28: Engineering Best Practices
Privacy by Design
Energy Awareness
Fail-Safe Systems

## Slide 29: Common Pitfalls
Overfitting
Poor Sampling
No Validation

## Slide 30: Starter Project
Activity Recognition System
IMU → CNN → TFLite → App

## Slide 31: Project Workflow
Collect → Preprocess → Train → Deploy → Monitor

## Slide 32: Conclusion
Balanced Design
Iterative Improvement
User-Centered ML